PWS\_ \_\_\_\_\_\_\_\_\_\_\_\_\_ \_CO\_ \_\_\_\_\_\_\_\_\_\_\_\_ \_BWN have no issues with Red’s response.



Texas Commission on Environmental Quality

CERTIFICATE OF DELIVERY OF PUBLIC NOTICE TO CUSTOMERS: Rescind Boil Water Notice

Public Water System (PWS) name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

PWS ID: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date Boil Water Notice Issued: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

30 TAC 290.46(q) requires a PWS to notify customers that a boil water notice has been rescinded. A public water system shall not rescind a boil water notice until the public water system has met all the applicable requirements as described in 30 TAC 290.46 (q)(6).

Indicate “[ ] ” for all requirements met and **provide documentation** with submittal:

|  |  |
| --- | --- |
| [ ]  | Sufficient water pressures (>20 psi) are consistently maintained per 30 TAC 290.47 (e). |
| [ ]  | Affected area(s) have been thoroughly flushed and adequate chlorine residual (free >0.2mg/L, chloramine >0.5mg/L) is maintained throughout the system.  |
| [ ]  | Surface Water Treatment Rule Only - Finished water entering the system has turbidity levels consistently below 1.0 NTU |
| [ ]  | Specific actions required by the Executive Director have been met (describe actions): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| [ ]  | Microbiological samples, marked “Special”, from representative sites in system, are analyzed by an approved lab and all results are negative for coliform organisms. |

Please indicate how the PWS provided this rescind notification to customers.

 **COMMUNITY WATER SYSTEM (perform one or more of the following)**:

|  |  |
| --- | --- |
| [ ]  | Furnish a copy of the Notice to radio and television stations serving the PWS service area |
| [ ]  | Publish Notice in a local newspaper serving the PWS service area |
| [ ]  | Direct delivery of Notice to customers |
| [ ]  | Continuously post Notice in conspicuous places within affected PWS service area |
| [ ]  | Electronic delivery or alert systems (e.g., reverse 911) |

**NONCOMMUNITY WATER SYSTEM (perform one or more of the following):**

|  |  |
| --- | --- |
| [ ]  | Direct delivery of Notice to customers |
| [ ]  | Continuously post Notice in conspicuous places within affected PWS service area |
| [ ]  | Electronic delivery or alert systems (e.g., reverse 911) |

 “I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fines and imprisonment for knowing violations.”

NOTE: 30 TAC 290.46(q)(6)(F) requires the PWS to provide documentation to the Executive Director within 10 days.

Date of Delivery to Customers: \_\_ Phone: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Certified by: (print name): \_\_\_\_\_\_\_\_\_\_\_\_\_ \_\_\_\_\_\_\_\_\_ Title: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Signature: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**E-mail (**PWSBWN@TCEQ.TEXAS.GOV**) or mail a copy of this completed form, AND copies of the Rescind Notice given to your customers to: TCEQ – Water Supply Division MC – 155, Attn: Public Notice. P. O. Box 13087 Austin, TX 78711-3087**